# TAMWORTH MONITORING DATA

| Licensee: | Downer Edi Works Pty Ltd | Address: | 15-27 Armstrong St Tamworth NSW 2340 | EPL No. | 12118 |
| --- | --- | --- | --- | --- | --- |
| Sampling Point: | Outlet Point 2 |  |  | Published: | May 2015 |

| Stormwater Monitoring Results |
| --- |
| Date Sampled | Report Obtained | Suspended Solids (mg/L) | Suspended Solids Discharge Limit (mg/L) | Oil and Grease (mg/L) | Oil and Grease Discharge Limit (mg/L) | Comments |
| 24/05/15 | 04/06/15 | 24 | 50 | <10 | 10 | Test complies with discharge limits. |

# Text boxes

Outlet Point 2