Tamworth Monitoring Data

| Licensee: | Downer Edi Works Pty Ltd | Address: | 15-27 Armstrong St Tamworth NSW 2340 | Environmental Protection Licence No. | 12118 |
| --- | --- | --- | --- | --- | --- |
| Sampled: | 28/03/14 | Obtained: | 08/04/14 | Published: | 24/04/14 |
| Sampling Point | Monitoring frequency as per licence | Pollutant | Result | Discharge Limit | Unit |
| Outlet Point 2 | Discharge after bypass of first flush system. | Suspended Solids | 81 | 50 | mg/L |
| Outlet Point 2 | Discharge after bypass of first flush system. | Oil & Grease | < 5 | 10 | mg/L |
| Comment |
| This test indicates higher than expected suspended solids for the first time in over 12 months. The results will be improved with an increased focus on reducing the sediment on the sites pavement through more frequent scheduled sweeping and increased vigilance on spilt dry materials. |

# Text boxes

Outlet Point 2