Tamworth Monitoring Data

| Licensee: | Downer Edi Works Pty Ltd | Address: | 15-27 Armstrong St Tamworth NSW 2340 | EPL No. | 12118 |
| --- | --- | --- | --- | --- | --- |
| Sampled: | 13/06/13 | Obtained: | 21/06/13 | Published: | 25/06/13 |
| Sampling Point | Monitoring frequency as per licence | Pollutant | Result | Discharge Limit | Unit |
| Outlet Point 2 | Discharge after bypass of first flush system. | Suspended Solids | 42 | 50 | mg/L |
| Outlet Point 2 | Discharge after bypass of first flush system. | Oil & Grease | < 5 | 10 | mg/L |

Outlet Point 2