Tamworth Monitoring Data

| Licensee: | Downer Edi Works Pty Ltd | Address: | 15-27 Armstrong St Tamworth NSW 2340 | EPL No. | 12118 |
| --- | --- | --- | --- | --- | --- |
| Sampled: | 14/10/14 | Obtained: | 28/10/14 | Published: | 29/10/14 |
| Sampling Point | Monitoring frequency as per licence | Pollutant | Result | Discharge Limit | Unit |
| Outlet Point 2 | Discharge after bypass of first flush system. | Suspended Solids | 39 | 50 | mg/L |
| Outlet Point 2 | Discharge after bypass of first flush system. | Oil & Grease | <10 | 10 | mg/L |

Comment

The water discharge complies with the Environmental Protection Licence.

Outlet Point 2